## Slide 1: VT Inspection
Data Analysis Report
2021 November 12

## Slide 2: Dataset Summary
High Pressure blade, Low Pressure Blade and Casing component images were received from MHI
Dataset includes both defect and no-defect images for High Pressure(HP) Blade, Low Pressure(LP) Blade and Casing.
Summary of images received for each defect pattern for different components are given below
Component | Defect Pattern | No. of Defect images | No. of No-defect images
High Pressure Blade | ScratchDeformation | 103 | 4
 | ScaleDeposition | 131 | 18
 | Sealfinbend | 55 | 11
Low Pressure Blade | Erosion | 94 | 4
 | ErosioninSideLockPiece | 98 | 6
Casing | Sealfinbend | 107 | 4
 | DamageinFittingPorsion | 95 | 3

## Slide 3: Dataset Summary – Out of scope images
Component | Defect Pattern | Images discarded by MHI | Similar type of images discarded by QuEST
High Pressure Blade | ScratchDeformation | 1 | 7
 | ScaleDeposition | 13 | 9
 | Sealfinbend | 4 | 1
Low Pressure Blade | Erosion | 2 | 0
 | ErosioninSideLockPiece | 12 | 13
Casing | Sealfinbend | 12 | 4
 | DamageinFittingPorsion | 0 | 0
Details of images discarded from original dataset based on latest review comment from MHI

## Slide 4: Scratch and Deformation
The defect patterns are sub categorized based on the visual appearance

## Slide 5: Deformation Type 1

## Slide 6: Deformation Type 2

## Slide 7: Deformation Type 3

## Slide 8: Deformation Type 4

## Slide 9: Deformation Type 5

## Slide 10: Deformation Type 6

## Slide 11: Deformation Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6
# Images | 15 | 10 | 16 | 16 | 4 | 2

## Slide 12: Deformation Defect Pattern Frequency Distribution - Region
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6
# Defect regions | 40 | 44 | 52 | 81 | 4 | 4

## Slide 13: Scale sedimentation
The defect patterns are sub categorized based on the visual appearance

## Slide 14: Scale sedimentation Type 1

## Slide 15: Scale sedimentation Type 2

## Slide 16: Scale sedimentation Type 3

## Slide 17: Scale sedimentation Type 3

## Slide 18: Scale sedimentation Type 4

## Slide 19: Scale sedimentation Type 5

## Slide 20: Scale Sedimentation Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5
# Images | 71 | 24 | 17 | 7 | 5

## Slide 21: Scale Sedimentation Defect Pattern Frequency Distribution - Region
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5
# Defect regions | 191 | 47 | 30 | 8 | 14

## Slide 22: HP seal fin bend
The defect patterns are sub categorized based on the visual appearance

## Slide 23: HP Seal Fin Bend - Type 1

## Slide 24: HP Seal Fin Bend - Type 2

## Slide 25: HP Seal Fin Bend - Type 3

## Slide 26: HP Seal Fin Bend - Type 4

## Slide 27: HP Seal Fin Bend Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4
# Images | 28 | 11 | 6 | 2

## Slide 28: HP Seal Fin Bend Defect Pattern Frequency Distribution - Region
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4
# Defect regions | 33 | 17 | 6 | 2

## Slide 29: Erosion
The defect patterns are sub categorized based on the visual appearance

## Slide 30: Erosion Type 1

## Slide 31: Erosion Type 2

## Slide 32: Erosion Type 3

## Slide 33: Erosion Type 3

## Slide 34: Erosion Type 4

## Slide 35: Erosion Type 5

## Slide 36: Erosion Type 6

## Slide 37: Erosion Type 7

## Slide 38: Erosion Type 8

## Slide 39: Erosion Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6 | Type 7 | Type 8
# Images | 20 | 7 | 66 | 19 | 46 | 7 | 2 | 1

## Slide 40: Erosion Defect Pattern Frequency Distribution - Region
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6 | Type 7 | Type 8
# Defect regions | 37 | 41 | 68 | 23 | 46 | 9 | 2 | 6

## Slide 41: Erosion in side lock piece
The defect patterns are sub categorized based on the visual appearance

## Slide 42: Erosion in side lock piece Type -1

## Slide 43: Erosion in side lock piece Type -2

## Slide 44: Erosion in side lock Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2
# Images | 67 | 1

## Slide 45: Erosion in side lock Defect Pattern Frequency Distribution - Regions
Chart: 
| Type 1 | Type 2
# Defect regions | 67 | 1

## Slide 46: Casing seal fin bend
The defect patterns are sub categorized based on the visual appearance

## Slide 47: Stationary part seal fin bend Type 1

## Slide 48: Stationary part seal fin bend Type 2

## Slide 49: Stationary part seal fin bend Type 3

## Slide 50: Stationary part seal fin bend Type 4

## Slide 51: Stationary part seal fin bend Type 5

## Slide 52: Stationary part seal fin bend Type 6

## Slide 53: Stationary part seal fin bend Defect Pattern Frequency Distribution – Images
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6
# Images | 51 | 39 | 7 | 6 | 1 | 7

## Slide 54: Stationary part seal fin bend Defect Pattern Frequency Distribution – Regions
Chart: 
| Type 1 | Type 2 | Type 3 | Type 4 | Type 5 | Type 6
# Defect regions | 85 | 68 | 10 | 10 | 2 | 7

## Slide 55: Damage in fitting portion
The defect patterns are sub categorized based on the visual appearance

## Slide 56: Damage in fitting portion Type 1

## Slide 57: Damage in fitting portion Type 1

## Slide 58: Damage in fitting portion Type 2

## Slide 59: Damage in fitting portion Defect Pattern Frequency Distribution - Images
Chart: 
| Type 1 | Type 2
# Images | 85 | 8

## Slide 60: Damage in fitting portion Defect Pattern Frequency Distribution - Regions
Chart: 
| Type 1 | Type 2
# Defect regions | 143 | 9

## Slide 61: Summary
The 7 defect patterns of 3 turbine components are sub categorized based on its appearance and the defect pattern frequency distribution in the dataset is plotted using bar chart.
As per analysis , data imbalance is present in the dataset.
More number of images are required to develop a deep learning model with better accuracy.

## Slide 62
Thank You